EQUIPMENT DETAILS

| Equipment Tag: | [DG-001] | Location: | [Building / Room / Area] |  |
| --- | --- | --- | --- | --- |
| Make / Model: | [e.g. Caterpillar C15 / Cummins QSK19] | Rated kVA: | [kVA] |  |
| Serial No.: | [Serial No.] | Year of Manufacture: | [YYYY] |  |
| Fuel Type: | [Diesel / Gas] | Prime / Standby Rating: | [Prime: ___kVA / Standby: ___kVA] |  |
| Last Major Service: | [DD/MM/YYYY] | Next Service Due: | [DD/MM/YYYY or ___ Hours] |  |

OPERATING PARAMETERS AT TIME OF INSPECTION

| Voltage L1-L2: | [___V] | Voltage L2-L3: | [___V] |  |
| --- | --- | --- | --- | --- |
| Voltage L3-L1: | [___V] | Voltage L1-N: | [___V] |  |
| Frequency: | [___Hz] | Load Current L1: | [___A] |  |
| Load Current L2: | [___A] | Load Current L3: | [___A] |  |
| Coolant Temp: | [___°C] | Oil Pressure: | [___bar / kPa] |  |
| Engine Hours (this inspection): | [___hrs] | Fuel Level: | [___%] |  |

INSPECTION CHECKLIST

| Pass [ ] | Fail [ ] | N/A [ ] | Defect [ ] | Use tick (v) in the frequency column if inspection was performed and result noted in Remarks. |
| --- | --- | --- | --- | --- |

| No. | Inspection / Maintenance Item | Std. | Pre | Daily | Mnthly | Annual | Findings / Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A. ENGINE & FUEL SYSTEM |  |  |  |  |  |  |  |
| A1 | Engine oil level -- check dipstick, top up if below MIN mark | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| A2 | Coolant level in expansion tank -- check and top up if required | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| A3 | Fuel level in day tank / main tank -- check gauge | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| A4 | Fuel filter condition -- check for water contamination, drain sediment bowl | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| A5 | Air filter condition -- check restriction indicator, clean / replace as needed | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| A6 | Engine oil condition -- check colour and viscosity, record last change date | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| A7 | Fuel leaks -- inspect all fuel lines, connections, and day tank for leaks | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| A8 | Battery electrolyte level (wet cell) -- or terminal condition (sealed/AGM) | IEC 60896 | Pre-use | Daily | Monthly | Annual |  |
| A9 | Battery terminals -- clean, tight, anti-corrosion grease applied | IEC 60896 | Pre-use | Daily | Monthly | Annual |  |
| A10 | Fan belt condition -- check tension and for cracks, fraying, glazing | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B. COOLING SYSTEM |  |  |  |  |  |  |  |
| B1 | Radiator coolant level and condition -- check for rust / contamination | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B2 | Radiator fins -- clean, no blockage from dust or debris | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B3 | Coolant hoses -- no cracks, bulges, softness, or leaks at clamps | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B4 | Thermostat function -- verify coolant temperature gauge reaches normal range | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B5 | Cooling fan condition -- no cracks, bent blades, secure mounting | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| C. ELECTRICAL SYSTEM |  |  |  |  |  |  |  |
| C1 | Output voltage (L-L and L-N) -- within +/-5% of rated | IEC 60038 | Pre-use | Daily | Monthly | Annual |  |
| C2 | Output frequency -- 50 Hz +/- 0.5 Hz | IEC 60038 | Pre-use | Daily | Monthly | Annual |  |
| C3 | Load current -- below rated nameplate current | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| C4 | Battery charger output -- charging current correct, no alarms | IEC 60896 | Pre-use | Daily | Monthly | Annual |  |
| C5 | AVR (Automatic Voltage Regulator) -- no fault lamps | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| C6 | Earthing / bonding connections -- secure, no corrosion | IEC 60364 | Pre-use | Daily | Monthly | Annual |  |
| C7 | Control panel lamps -- all indicators functional, no fault alarms | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| C8 | Cable terminations at alternator and panels -- tight, no overheating marks | IEC 60364 | Pre-use | Daily | Monthly | Annual |  |
| D. EXHAUST & MECHANICAL |  |  |  |  |  |  |  |
| D1 | Exhaust system -- no leaks, correct colour of exhaust (not black / white) | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| D2 | Exhaust silencer and piping -- secure, no cracks or corrosion | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| D3 | Engine mounting bolts -- check for looseness or vibration damage | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| D4 | Alternator coupling / flexible disc -- no visible damage | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| D5 | Vibration isolators / anti-vibration mounts -- not collapsed or cracked | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| E. PROTECTION & SAFETY SYSTEMS |  |  |  |  |  |  |  |
| E1 | Low oil pressure shutdown -- test function (monthly) | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| E2 | High coolant temperature shutdown -- test function (monthly) | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| E3 | Over-speed protection -- test function (annual) | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| E4 | Emergency stop button -- test function, reset confirmed | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| E5 | ATS (Automatic Transfer Switch) -- test mains fail, auto start and transfer | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| E6 | Weekly auto-start test run -- minimum 30 minutes under load | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| E7 | Annual full load test -- run at rated load for minimum 2 hours | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| E8 | Fire extinguisher in generator room -- within service date | NFPA 10 | Pre-use | Daily | Monthly | Annual |  |
| F. FUEL & HOUSEKEEPING |  |  |  |  |  |  |  |
| F1 | Generator room -- clean, free of combustibles and unnecessary storage | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| F2 | Fuel storage -- secondary containment intact, no spillage | NFPA 30 | Pre-use | Daily | Monthly | Annual |  |
| F3 | Ventilation -- louvres clear, no restriction to airflow | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| F4 | Hour meter reading -- record for maintenance scheduling | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| F5 | Maintenance log -- all previous entries complete and signed | ISO 9001 | Pre-use | Daily | Monthly | Annual |  |

DEFECTS & CORRECTIVE ACTIONS

| No. | Item Ref. | Defect Description | Corrective Action | Target Date | Status |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 2 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 3 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 4 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 5 |  |  |  | [DD/MM/YYYY] | Open / Closed |

SIGN-OFF

| Inspected By: | [Name + Position] | Company: | [Company Name] |  |
| --- | --- | --- | --- | --- |
| Signature: |  | Date: | [DD/MM/YYYY] |  |
| Next Inspection Due: | [DD/MM/YYYY] | Work Order Ref.: | [WO No. or N/A] |  |

DISCLAIMER

Generic reference checklist by FreeDocumentsHub.com. Not certified inspection advice. User assumes full responsibility for compliance with applicable local regulations and standards.

FDH-PG-01  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]