EQUIPMENT DETAILS

| Equipment Tag: | [GG-001] | Location: | [Building / Room / Area] |  |
| --- | --- | --- | --- | --- |
| Make / Model: | [e.g. GE Jenbacher / MWM TCG] | Rated kVA: | [kVA] |  |
| Serial No.: | [Serial No.] | Gas Type: | [Natural Gas / LPG / Biogas] |  |
| Gas Supply Pressure: | [mbar / bar] | Last Service: | [DD/MM/YYYY] |  |

INSPECTION CHECKLIST

| Pass [ ] | Fail [ ] | N/A [ ] | Defect [ ] | Use tick (v) in the frequency column if inspection was performed and result noted in Remarks. |
| --- | --- | --- | --- | --- |

| No. | Inspection / Maintenance Item | Std. | Pre | Daily | Mnthly | Annual | Findings / Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A. GAS FUEL SYSTEM |  |  |  |  |  |  |  |
| A1 | Gas supply pressure at engine inlet -- check gauge, within specified range | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| A2 | Gas shut-off valve -- confirm open, no leaks at body or connections | EN 13611 | Pre-use | Daily | Monthly | Annual |  |
| A3 | Gas regulator condition -- no damage, pressure reading stable | EN 13611 | Pre-use | Daily | Monthly | Annual |  |
| A4 | Gas leak test -- detector or soap solution on all connections | EN 1775 | Pre-use | Daily | Monthly | Annual |  |
| A5 | Air-fuel ratio -- check exhaust colour and O2 trim if equipped | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| A6 | Gas filter / strainer -- check pressure differential, clean if needed | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| A7 | Knock sensor function -- no knock fault codes logged | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B. ENGINE & LUBRICATION |  |  |  |  |  |  |  |
| B1 | Engine oil level -- check dipstick, top up if required | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B2 | Engine oil condition -- check colour (gas engines require more frequent changes) | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B3 | Coolant level and condition -- check antifreeze concentration | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B4 | Spark plugs -- check fouling, gap, and replacement interval | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B5 | Ignition timing -- verify setting per manufacturer spec | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B6 | Air filter -- check condition, no oil carryover contamination | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| B7 | Belt tension -- check drive belts for wear and correct tension | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |
| C. ELECTRICAL & CONTROLS |  |  |  |  |  |  |  |
| C1 | Output voltage and frequency -- within rated tolerance | IEC 60038 | Pre-use | Daily | Monthly | Annual |  |
| C2 | Load current -- all three phases balanced within 10% | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| C3 | Control panel -- no fault alarms, all displays functional | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| C4 | Battery condition -- terminals clean, charge voltage correct | IEC 60896 | Pre-use | Daily | Monthly | Annual |  |
| C5 | ATS auto-start test -- simulate mains failure, confirm auto start | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| C6 | CO and NOx emissions (if monitoring installed) -- within limits | EPA / SASO | Pre-use | Daily | Monthly | Annual |  |
| D. SAFETY & HOUSEKEEPING |  |  |  |  |  |  |  |
| D1 | Gas detector in generator room -- functional, within calibration date | IEC 60079 | Pre-use | Daily | Monthly | Annual |  |
| D2 | Emergency gas shut-off -- accessible, clearly labelled, functional | EN 13611 | Pre-use | Daily | Monthly | Annual |  |
| D3 | Room ventilation -- adequate for gas dissipation, louvres clear | EN 1775 | Pre-use | Daily | Monthly | Annual |  |
| D4 | Fire extinguisher -- CO2 type, within service date | NFPA 10 | Pre-use | Daily | Monthly | Annual |  |
| D5 | Emergency stop function -- tested and confirmed reset | NFPA 110 | Pre-use | Daily | Monthly | Annual |  |
| D6 | Hour meter -- record reading for service scheduling | ISO 8528 | Pre-use | Daily | Monthly | Annual |  |

SIGN-OFF

| Inspected By: | [Name + Position] | Company: | [Company Name] |  |
| --- | --- | --- | --- | --- |
| Signature: |  | Date: | [DD/MM/YYYY] |  |
| Next Inspection Due: | [DD/MM/YYYY] | Work Order Ref.: | [WO No. or N/A] |  |

DISCLAIMER

Generic reference checklist by FreeDocumentsHub.com. Not certified inspection advice. User assumes full responsibility for compliance with applicable local regulations and standards.

FDH-PG-02  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]