EQUIPMENT DETAILS

| System Tag: | [BESS-001] | Location: | [Building / Container / Room] |  |
| --- | --- | --- | --- | --- |
| Make / Model: | [Brand / Model] | Rated Energy (kWh): | [kWh] |  |
| Rated Power (kW): | [kW charge / kW discharge] | Battery Chemistry: | [Li-Ion / LFP / NMC / NCA] |  |
| Commissioning Date: | [DD/MM/YYYY] | BMS Firmware Version: | [Version] |  |
| State of Health (SoH): | [___%] | Cycle Count: | [Count] |  |

INSPECTION CHECKLIST

| Pass [ ] | Fail [ ] | N/A [ ] | Defect [ ] | Use tick (v) in frequency column when inspection performed; note result in Remarks. |
| --- | --- | --- | --- | --- |

| No. | Inspection / Maintenance Item | Std. | Pre | Daily | Mnthly | Annual | Findings / Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A. BATTERY MODULES |  |  |  |  |  |  |  |
| A1 | Battery module temperatures -- all cells within operating range (check BMS display) | IEC 62619 |  |  |  |  |  |
| A2 | Battery module voltages -- all modules within acceptable tolerance band | IEC 62619 |  |  |  |  |  |
| A3 | State of Charge (SoC) -- displayed correctly, no unexpected deviation | IEC 62619 |  |  |  |  |  |
| A4 | Battery enclosure -- no swelling, deformation, electrolyte leakage, or odour | IEC 62619 |  |  |  |  |  |
| A5 | Thermal runaway indicators -- no smoke, heat, or discolouration on modules | IEC 62619 |  |  |  |  |  |
| A6 | Cell balancing -- BMS reports balanced state, no persistent imbalance alarms | IEC 62619 |  |  |  |  |  |
| A7 | Cooling system (liquid or air) -- pump / fan running, temperature setpoints met | IEC 62619 |  |  |  |  |  |
| B. BMS (BATTERY MANAGEMENT SYSTEM) |  |  |  |  |  |  |  |
| B1 | BMS communication -- all modules reporting to master BMS | IEC 62619 |  |  |  |  |  |
| B2 | Over-voltage protection -- test alarm and disconnect function annually | IEC 62619 |  |  |  |  |  |
| B3 | Under-voltage protection -- test alarm and disconnect function annually | IEC 62619 |  |  |  |  |  |
| B4 | Over-temperature protection -- verify trip setpoints | IEC 62619 |  |  |  |  |  |
| C5 | Ground fault detection -- BMS detects ground fault and raises alarm | IEC 62619 |  |  |  |  |  |
| B6 | BMS firmware -- on latest approved version (check with vendor) | IEC 62619 |  |  |  |  |  |
| C. POWER CONVERSION SYSTEM (PCS) |  |  |  |  |  |  |  |
| C1 | PCS output voltage and frequency -- within grid limits | IEC 61727 |  |  |  |  |  |
| C2 | PCS charge / discharge power -- within rated limits | IEC 61727 |  |  |  |  |  |
| C3 | PCS efficiency -- check daily loss report | IEC 61727 |  |  |  |  |  |
| C4 | PCS cooling -- vents clear, fans running, no over-temperature alarm | IEC 61727 |  |  |  |  |  |
| C5 | PCS protection functions -- anti-islanding, overcurrent, relay tested annually | IEC 61727 |  |  |  |  |  |
| D. FIRE SAFETY & ENVIRONMENT |  |  |  |  |  |  |  |
| D1 | Battery room gas detection -- H2 / VOC detector calibrated and functional | NFPA 855 |  |  |  |  |  |
| D2 | Fire suppression system (if fitted) -- no faults, agent cylinder pressure OK | NFPA 855 |  |  |  |  |  |
| D3 | Room ventilation -- forced ventilation running, louvres clear | NFPA 855 |  |  |  |  |  |
| D4 | Emergency shutdown button -- accessible, tested annually | NFPA 855 |  |  |  |  |  |
| D5 | Spill containment -- no electrolyte spills, containment tray clean | IEC 62619 |  |  |  |  |  |
| D6 | Battery room access log -- authorised personnel only | IEC 62619 |  |  |  |  |  |

DEFECTS & CORRECTIVE ACTIONS

| No. | Item Ref. | Defect Description | Corrective Action | Target Date | Status |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 2 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 3 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 4 |  |  |  | [DD/MM/YYYY] | Open / Closed |
| 5 |  |  |  | [DD/MM/YYYY] | Open / Closed |

SIGN-OFF

| Inspected By: | [Name + Position] | Company: | [Company Name] |  |
| --- | --- | --- | --- | --- |
| Signature: |  | Date: | [DD/MM/YYYY] |  |
| Next Inspection Due: | [DD/MM/YYYY] | Work Order Ref.: | [WO No. or N/A] |  |

DISCLAIMER

Generic reference checklist by FreeDocumentsHub.com. Not certified inspection advice. User assumes full responsibility for compliance with applicable local regulations and standards.

FDH-PG-11  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]