PROJECT DETAILS

| Project: | [Project Name] | BOQ Ref.: | [BOQ-001] |  |
| --- | --- | --- | --- | --- |
| Client: | [Client Company] | Contractor: | [Contractor Company] |  |
| Contract Type: | [Lump Sum / Remeasurement / Cost Plus] | Revision: | [Rev A] |  |
| Prepared By: | [Engineer / QS Name] | Date: | [DD/MM/YYYY] |  |

BILL OF QUANTITIES

| No. | Item Description | Specification Ref. | Unit | Qty | Unit Rate (SAR) | Total (SAR) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A. SUPPLY & PROCUREMENT |  |  |  |  |  |  |  |
| A1 | GRP Enclosure IP54 — 500×600×200mm RAL7035 | Spec §3.1 | No. | 2 |  |  | Supply only — Sarel or equal |
| A2 | 24VDC PSU 5A with battery charger | Spec §3.2 | No. | 2 |  |  | Phoenix Contact or equal |
| A3 | Control Relay 24VDC 1CO — DIN Rail | Spec §3.3 | No. | 10 |  |  | Phoenix Contact PLC-RSC or equal |
| A4 | VRLA Battery 12V 7.2Ah | Spec §3.4 | No. | 4 |  |  | CSB / Yuasa — pair for 24V |
| A5 | MCB 6A Single Pole 230VAC | Spec §3.5 | No. | 2 |  |  | Schneider C60N or equal |
| A6 | FR-LSOH Cable 1.5mm² 2-core screened | Spec §4.1 | Metre | [m] |  |  | Per cable schedule |
| A7 | GRP Enclosure IP54 — 300×400×150mm (small panel) | Spec §3.1 | No. | 1 |  |  |  |
| B. FABRICATION |  |  |  |  |  |  |  |
| B1 | Panel fabrication — Gas Cutoff Control Panel | Spec §5 | Lump Sum | 1 |  |  | As per approved drawing |
| B2 | Panel fabrication — Electrical Cutoff Panel | Spec §5 | Lump Sum | 1 |  |  | As per approved drawing |
| B3 | Panel factory testing (FAT) | Spec §6 | Lump Sum | 1 |  |  | Witness by client |
| C. INSTALLATION & COMMISSIONING |  |  |  |  |  |  |  |
| C1 | Installation — panels, cables, field instruments | Spec §7 | Lump Sum | 1 |  |  | Complete installation |
| C2 | Termination — all cables both ends with ferrules | Spec §7 | Lump Sum | 1 |  |  | Per termination schedule |
| C3 | Loop testing — all signal loops | Spec §8 | Lump Sum | 1 |  |  | Loop test records |
| C4 | Commissioning & functional testing | Spec §9 | Lump Sum | 1 |  |  | SAT + client witness |
| C5 | Documentation — as-built drawings + O&M manual | Spec §10 | Lump Sum | 1 |  |  | Full dossier |
| SUBTOTAL (excl. VAT): |  |  |  |  |  |  |  |
| VAT 15%: |  |  |  |  |  |  |  |
| GRAND TOTAL (incl. VAT): |  |  |  |  |  |  |  |

SIGN-OFF

| Prepared By: | [Name + Position] | Checked By: | [Name] |  |
| --- | --- | --- | --- | --- |
| Signature: |  | Date: | [DD/MM/YYYY] |  |

DISCLAIMER

Generic reference template by FreeDocumentsHub.com. Not certified advice. User assumes full responsibility.

FDH-PM-077  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]