1. DOCUMENT IDENTIFICATION

| Document No.: | [SOW-001] | Project: | [Project Name] |  |
| --- | --- | --- | --- | --- |
| Client: | [Client Company] | Contractor: | [Contractor Company] |  |
| Contract Ref.: | [Contract / PO No.] | Revision: | [Rev A] |  |
| Prepared By: | [Name + Position] | Date: | [DD/MM/YYYY] |  |

2. PROJECT OVERVIEW

[Provide a clear, concise description of the project. Include the facility name, client, location, and the overall purpose of the work. Example: This Scope of Work covers the complete design, supply, fabrication, installation, testing, and commissioning of a Kitchen Safety System Integration at Jafura North Labour Camp — Khursaniyah. The system integrates fire detection, gas cutoff, and electrical isolation functions through dry contact relay interfaces with the existing Siemens Desigo FACP. The work is to be executed by Al-Shammari Est. as Systems Integrator under contract to CAT International.]

3. SCOPE OF WORK — INCLUDED

| No. | Scope Item | Deliverable / Evidence |
| --- | --- | --- |
| 1 | Engineering — design basis, I/O list, interface schedule, cable schedule, cause & effect matrix | Engineering package |
| 2 | Procurement — supply of all materials per approved BOQ and material submittal | Approved submittals + delivery notes |
| 3 | Fabrication — Gas Cutoff Control Panel and Electrical Cutoff Control Panel as per approved drawings | FAT report |
| 4 | Installation — panels, cables, conduit, field instruments, junction boxes as per approved drawings | Installation records |
| 5 | Termination — all cable terminations at both panel and field ends — ferrules and numbered labels | Termination schedule |
| 6 | Testing — insulation resistance tests, loop tests, functional tests, end-to-end system test | Test records |
| 7 | Commissioning — full system commissioning with client witness — SAT report | SAT report |
| 8 | Documentation — as-built drawings, commissioning report, O&M manual, handover certificate | Document dossier |
| 9 | Training — one session for client operations and maintenance personnel | Training attendance sheet |
| 10 | Warranty — 12 months from date of system acceptance | Warranty certificate |

4. EXCLUSIONS — NOT IN SCOPE

| No. | Excluded Item |
| --- | --- |
| 1 | Civil / structural works — penetrations, cable tray support steelwork, concrete bases |
| 2 | FACP programming — by FACP supplier (Conexus / Siemens) |
| 3 | Fire suppression agent supply and recharge — by specialist suppression contractor |
| 4 | Electrical power supply to panels — by client / main electrical contractor |
| 5 | Commissioning of cooking appliances, gas supply system, or kitchen equipment |

5. PROGRAMME & MILESTONES

| No. | Milestone | Duration | Target Date | Notes |
| --- | --- | --- | --- | --- |
| 1 | Engineering & submittals | 1 week | [DD/MM/YYYY] | Following contract award |
| 2 | Material approval & procurement | 2 weeks | [DD/MM/YYYY] | Subject to approval turnaround |
| 3 | Panel fabrication & FAT | 2 weeks | [DD/MM/YYYY] | FAT before delivery to site |
| 4 | Site installation | 1 week | [DD/MM/YYYY] | Subject to site access |
| 5 | Testing & commissioning | 3 days | [DD/MM/YYYY] | Client witness required |
| 6 | Documentation & handover | 3 days | [DD/MM/YYYY] | Following successful SAT |

6. COMMERCIAL TERMS

| Contract Value (SAR): | [Total — excl. VAT] | Payment Terms: | [e.g. 30% advance, 50% delivery, 20% completion] |  |
| --- | --- | --- | --- | --- |
| Retention: | [5% — released after DLP] | Defect Liability Period: | [12 months from acceptance] |  |
| Liquidated Damages: | [SAR per day — if applicable] | Price Validity: | [30 / 60 / 90 days] |  |

SIGN-OFF

| Prepared By: | [Name + Position] | Checked By: | [Name] |  |
| --- | --- | --- | --- | --- |
| Signature: |  | Date: | [DD/MM/YYYY] |  |

DISCLAIMER

Generic reference template by FreeDocumentsHub.com. Not certified advice. User assumes full responsibility.

FDH-PM-078  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]