NCR IDENTIFICATION

| NCR No.: | [NCR-001] | Date Raised: | [DD/MM/YYYY] |  |
| --- | --- | --- | --- | --- |
| Project: | [Project Name] | Contract Ref.: | [Contract / PO No.] |  |
| Raised By: | [QC Inspector / Engineer] | Raised Against: | [Contractor / Subcontractor / Supplier] |  |
| Discipline: | [Fire / Integration / MEP / Civil] | Priority: | [Critical / Major / Minor] |  |
| Drawing / Spec. Ref.: | [Drawing No. / Spec Clause] | ITP Reference: | [ITP Inspection Point No.] |  |

DESCRIPTION OF NON-CONFORMANCE

[Describe clearly what was found to be non-conforming. Include location, quantity, and reference to the applicable requirement. Example: During termination inspection on [Date], it was found that 6 control cable terminations in Gas Cutoff Panel TB-01 (terminals 1–6) are not fitted with wire ferrules as required by project specification §7.3 and IEC 60947-7. Bare conductors have been terminated directly onto the terminal blocks. This was observed on cable tags CTL-001 through CTL-003.]

OBJECTIVE EVIDENCE

| Location: | [Panel / Area / Drawing Ref.] | Quantity Non-Conforming: | [Count / Length / Area] |  |
| --- | --- | --- | --- | --- |
| Photographic Evidence: | [Yes — Photo No. _____ / No] | Non-conforming Condition: | [Describe physical condition] |  |

APPLICABLE REQUIREMENT

| Standard / Specification Clause: | [IEC 60947-7 §6.1 — all conductors in terminal blocks shall be terminated with ferrules] | Requirement: | [All stranded conductors must be fitted with insulated ferrules before termination] |  |
| --- | --- | --- | --- | --- |

IMMEDIATE ACTION TAKEN

[Describe any immediate action taken to prevent the situation worsening. Example: The affected terminations have been tagged with yellow 'Hold' tags. No further connection or commissioning work is to be performed on the affected circuits until this NCR is closed.]

ROOT CAUSE ANALYSIS

| Root Cause Category: | [Human error / Process failure / Material / Equipment / Training] | Root Cause Description: | [e.g. Technician not trained on ferrule requirements / ferrule crimper not on site] |  |
| --- | --- | --- | --- | --- |

CORRECTIVE ACTION PLAN

| No. | Corrective Action | Responsible | Target Date | Verification Method |
| --- | --- | --- | --- | --- |
| 1 | Remove all bare conductor terminations — refit with correct insulated ferrules | Technician | [DD/MM/YYYY] | Visual inspection by QC |
| 2 | Re-inspect all 60 terminations in both panels — verify 100% ferrule fitted | QC Inspector | [DD/MM/YYYY] | Termination inspection checklist |
| 3 | Toolbox talk — brief all technicians on ferrule requirements | Supervisor | [DD/MM/YYYY] | Attendance register |
| 4 | Update ITP — add termination inspection as Witness Point | QC Engineer | [DD/MM/YYYY] | ITP revision |

NCR CLOSE-OUT

| Corrective Action Verified By: | [QC Inspector Name] | Verification Date: | [DD/MM/YYYY] |  |
| --- | --- | --- | --- | --- |
| NCR Status: | Open / Closed / Conditionally Closed | Close-out Approved By: | [Client / QC Manager] |  |
| Signature: |  | Date: | [DD/MM/YYYY] |  |

DISCLAIMER

Generic reference template by FreeDocumentsHub.com. Not certified advice. User assumes full responsibility.

FDH-PM-084  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]