CAR IDENTIFICATION

| CAR No.: | [CAR-001] | Date: | [DD/MM/YYYY] |  |
| --- | --- | --- | --- | --- |
| Project: | [Project Name] | NCR Ref. (if applicable): | [NCR-001 / Audit Finding / Customer Complaint] |  |
| Raised By: | [Name + Position] | Department: | [QC / Engineering / Site] |  |
| Category: | [Customer Complaint / Internal Audit / NCR / Incident / Process Failure] | Priority: | [Critical / Major / Minor] |  |

PROBLEM DESCRIPTION

[Describe the problem clearly and objectively. What happened, where, when, how many times, what was the impact. Example: Three control cable terminations in Gas Cutoff Panel (CAR raised from NCR-001) were found without wire ferrules. This is a recurring issue — same finding was noted on a previous project in January 2025. The root cause from NCR-001 was identified as insufficient technician training and absence of ferrule crimping tool on site.]

ROOT CAUSE ANALYSIS — 5 WHY METHOD

| Why No. | Question | Answer |
| --- | --- | --- |
| Why 1 | Why did the terminations not have ferrules? | Because the technician did not apply ferrules |
| Why 2 | Why did the technician not apply ferrules? | Because he was not aware of the project ferrule requirement |
| Why 3 | Why was he not aware? | Because project-specific termination requirements were not included in the site induction |
| Why 4 | Why were they not in the induction? | Because the induction checklist does not cover termination standards — it is generic only |
| Why 5 | Why is the induction checklist generic? | Because there is no procedure for updating the induction for project-specific technical requirements → ROOT CAUSE |

CORRECTIVE ACTIONS

| No. | Corrective Action | Type | Responsible | Target Date | Verification Method |
| --- | --- | --- | --- | --- | --- |
| 1 | Fix the immediate termination issue — refit ferrules on all affected terminals | Correction | Technician | [DD/MM/YYYY] | QC inspection — termination checklist |
| 2 | Update site induction checklist to include project-specific termination requirements | Corrective Action | QC Engineer | [DD/MM/YYYY] | Review updated induction checklist |
| 3 | Brief all site technicians on termination standard and ferrule requirement | Preventive Action | Supervisor | [DD/MM/YYYY] | Attendance register |
| 4 | Add ferrule crimper to mandatory tool kit list for all panel jobs | Preventive Action | Procurement | [DD/MM/YYYY] | Updated tool checklist |
| 5 | Add termination inspection to ITP as Witness Point for all future projects | Systemic Action | QC Manager | [DD/MM/YYYY] | Updated ITP procedure |

EFFECTIVENESS VERIFICATION

| Verification Date: | [DD/MM/YYYY — 30-60 days after corrective action] | Verified By: | [QC Manager / Auditor] |  |
| --- | --- | --- | --- | --- |
| Verification Method: | [Re-inspection / Audit / Review of records] | Result: | Effective / Not Effective — further action required |  |
| CAR Status: | Open / Closed | Close-out Date: | [DD/MM/YYYY] |  |

DISCLAIMER

Generic reference template by FreeDocumentsHub.com. Not certified advice. User assumes full responsibility.

FDH-PM-085  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]