HANDOVER DETAILS

| Project: | [Project Name] | Handover Date: | [DD/MM/YYYY] |  |
| --- | --- | --- | --- | --- |
| Contractor: | [Contractor Company] | Client / Owner: | [Client Company] |  |
| System Handed Over: | [Full description] | DLP Start Date: | [DD/MM/YYYY] |  |

HANDOVER CHECKLIST

| No. | Item | Required? | Provided? | Remarks |
| --- | --- | --- | --- | --- |
| A. TECHNICAL COMPLETION |  |  |  |  |
| A1 | All works complete — no open Category A punch items | Yes | Yes / No |  |
| A2 | System tested and commissioned — commissioning report signed | Yes | Yes / No |  |
| A3 | FAT reports complete and signed by client witness | Yes | Yes / No |  |
| A4 | SAT / site acceptance test complete and signed | Yes | Yes / No |  |
| A5 | All instruments calibrated — calibration certificates provided | Yes | Yes / No |  |
| A6 | As-built drawings issued — Rev B issued for construction drawings | Yes | Yes / No |  |
| A7 | System operating correctly at time of handover | Yes | Yes / No |  |
| A8 | Emergency procedures tested — gas and electrical cutoff confirmed | Yes | Yes / No |  |
| B. DOCUMENTATION |  |  |  |  |
| B1 | As-built drawing register — all drawings listed and issued | Yes | Yes / No |  |
| B2 | FAT test reports (all panels) | Yes | Yes / No |  |
| B3 | SAT / commissioning test report | Yes | Yes / No |  |
| B4 | Instrument calibration records | Yes | Yes / No |  |
| B5 | Loop test records | Yes | Yes / No |  |
| B6 | Termination schedule — as-built | Yes | Yes / No |  |
| B7 | O&M Manual — operation and maintenance procedures | Yes | Yes / No |  |
| B8 | Spare parts list with supplier contacts | Yes | Yes / No |  |
| B9 | Warranty certificates — all equipment | Yes | Yes / No |  |
| B10 | Training completion record — client O&M team trained | Yes | Yes / No |  |
| B11 | Pre-commissioning dossier — complete and indexed | Yes | Yes / No |  |
| B12 | System handover certificate — signed by both parties | Yes | Yes / No |  |
| C. SITE CLEARANCE |  |  |  |  |
| C1 | All contractor tools and equipment removed from site | Yes | Yes / No |  |
| C2 | All construction waste removed — site left clean | Yes | Yes / No |  |
| C3 | All temporary works removed — openings made good | Yes | Yes / No |  |
| C4 | Site safety equipment (temporary) returned to contractor | Yes | Yes / No |  |
| C5 | Access badges / keys / site passes returned | Yes | Yes / No |  |

OUTSTANDING ITEMS AT HANDOVER

| No. | Outstanding Item | Category | Target Date | Responsible |
| --- | --- | --- | --- | --- |
| 1 |  | Cat B / Cat C | [DD/MM/YYYY] |  |
| 2 |  | Cat B / Cat C | [DD/MM/YYYY] |  |
| 3 |  | Cat B / Cat C | [DD/MM/YYYY] |  |
| 4 |  | Cat B / Cat C | [DD/MM/YYYY] |  |
| 5 |  | Cat B / Cat C | [DD/MM/YYYY] |  |

SIGN-OFF

| Prepared By: | [Name + Position] | Approved By: | [Name] |  |
| --- | --- | --- | --- | --- |
| Signature: |  | Date: | [DD/MM/YYYY] |  |

DISCLAIMER

Generic reference template by FreeDocumentsHub.com. Not certified advice. User assumes full responsibility.

FDH-PM-087  |  FreeDocumentsHub.com  |  doers.ifti@gmail.com  |  [DELETE THIS LINE BEFORE USE]